| The C101 electronic thermostat, equipped with a floor temperature sensor, features a setback temperature function for efficient heating control. Designed for floor heating systems, it is wall-mounted for use in any room. The thermostat includes a 3-meter floor temperature sensor cable for precise temperature regulation. |  |
| --- | --- |

TECHNICAL DATA

| Voltage | 230V AC 50/60 Hz |
| --- | --- |
| Max load | 16 A / 3600 W |
| ON / OFF switch | Built-in interrupter 1pole |
| Temperature range | +5°C ... +45°C |
| Hysteresis | +/-0,4°C |
| Sensor type | Floor (NTC) |
| Sensor resistance | 14,8 kOhm / 20°C |
| Temperature setback | fixed 5°C |
| Light indicator | LED |
| Dimensions | 84x84x28 mm |
| Protection class | IP20 |
| Warranty | 3 year |

PRODUCT LIST

| Type | Temperature range | Sensor | Model | Stock code |
| --- | --- | --- | --- | --- |
| C 101 | +5°C ... +45°C | Floor, 3 m | Elko | 19111801 |

WIRING DIAGRAM